File:  GBE-R

# STAFF HEALTH AND SAFETY

# Workers’ Compensation Benefits Eligibility – Chemical Testing

Under Ohio’s Workers’ Compensation Law, every employee who is injured in the course of employment is entitled to benefits, if necessary, to compensate him/her for lost work time, payment for medical, nursing and hospital services, medicines and funeral expenses, unless the injury was proximately caused by the employee being intoxicated, under the influence of a controlled substance not prescribed by the employee’s physician or under the influence of marihuana (marijuana).

# Testing Procedures

An injury is deemed to have been proximately caused by the employee being intoxicated or under the influence of a controlled substance not prescribed by the employee’s physician or under the influence of marihuana (marijuana) if any of the following apply.

1.	Within eight hours of the injury, the employee’s blood alcohol level tests equal to or greater than .08%*.

2.	Within eight hours of the injury, the employee’s breath alcohol level tests equal to or greater than .08g/210L*.

3.	Within eight hours of the injury, the employee’s urine alcohol level tests equal to or greater than .11g/100 ml*.

4.	Within 32 hours of the injury, the employee tests above both the following levels established for an enzyme multiplied immunoassay technique (EMIT) screening test and above the following levels established for a gas chromatography/mass spectrometry test, or in the alternative, above the levels established for a gas chromatography/mass spectrometry (GC/MS) test alone as follows, for substances not prescribed by a physician or marihuana (marijuana):

A.	for amphetamines, 1000 ng/ml of urine for the EMIT test and 500 ng/ml of urine for the GC/MS test;

B.	for cannabinoids, 50 ng/ml of urine for the EMIT test and 15 ng/ml of urine for the GC/MS test;

C.	for cocaine, including crack cocaine, 300 ng/ml of urine for the EMIT test and 150 ng/ml of urine for the GC/MS test;

D.	for opiates, 2000 ng/ml of urine for the EMIT test and 2000 ng/ml of urine for the GC/MS test and

1 of 2

File:  GBE-R

E.	for phencyclidine, 25 ng/ml of urine for the EMIT test and 25 ng/ml of urine for the GC/MS test.

5.	The employee, through a chemical test administered within 32 hours of the injury, is determined to have barbiturates, benzodiazepines, methadone or propoxyphene in the employee’s system that tests above levels established by laboratories certified by the U.S. Department of Health and Human Services (HHS).

6.	The employee refuses to submit to a requested chemical test.

# Legal Protections

All testing will be conducted by a qualified, federally certified testing laboratory or a laboratory that meets or exceeds HHS standards for laboratory certification selected by the Board, and any positive test result will be confirmed by a medical review officer.

# Confidentiality

All test results will remain confidential as between the employee, the Board and the Bureau of Workers’ Compensation.

*This represents the minimum testing level used to establish intoxication under current State law prohibiting the operation of a motor vehicle while intoxicated, otherwise known as the State “OMVI” law.

(Approval date:)

THIS IS A REQUIRED REGULATION

2 of 2